## data
Experiments for “Convex usage cost” article
				Parameters					LCOEs (€/MWh)			Operation stats				Sizing (kW, kWh)				Sizing diff to baseline
case	shed_max	fuel_price	sto_lifetime_cycles	sto_lifetime_calendar	fixed_lifetimes	gen_hours_assum	n_ztan	relax gain	usage_penal	LCOE pwl	LCOE cvx	LCOE ns	sto_cycles	sto_cycles_lifetime	gen_hours	gen_hours_lin	x* gen	x* sto	x* pv	x* wind	Δx* gen	Δx* sto	Δx* pv	Δx* wind	Δx* min	Δx* max	Δx* worst	topt (s)
Base case, rgain=1.0	0	2,0	1500	15	FAUX	NaN	10	1,00	0	243,024	243,056	252,907	147,8	10,15	2 090	914,6	1 216	4 988	2 132	1 576	-3,1 %	-15 %	-8 %	-1,3 %	-14,6 %	-1,3 %	-14,6 %	11,0
Base case, rgain=2.0	0	2,0	1500	15	FAUX	NaN	10	2,00	0	250,239	250,260	252,218	140,4	10,69	1 809	1 583,7	1 255	5 837	2 330	1 596	0,0 %	0,0 %	0,0 %	0,0 %	0,0 %	0,0 %	0,0 %	11,1
Less tangents, n_ztan=2	0	2,0	1500	15	FAUX	NaN	2	2,00	0	249,423	250,284	251,948	136,5	10,99	1 736	1 543,0	1 246	6 231	2 371	1 595	-0,8 %	6,7 %	1,8 %	-0,1 %	-0,8 %	6,7 %	6,7 %	10,3
Less tangents, n_ztan=3	0	2,0	1500	15	FAUX	NaN	3	2,00	0	249,423	250,284	251,888	136,5	10,99	1 729	1 543,0	1 246	6 231	2 371	1 595	-0,8 %	6,7 %	1,8 %	-0,1 %	-0,8 %	6,7 %	6,7 %	10,6
Less tangents, n_ztan=5	0	2,0	1500	15	FAUX	NaN	5	2,00	0	249,601	250,268	252,148	140,7	10,66	1 788	1 571,4	1 254	5 900	2 368	1 588	-0,1 %	1,1 %	1,7 %	-0,5 %	-0,5 %	1,7 %	1,7 %	10,7
Relax gain convergence	0	2,0	1500	15	FAUX	NaN	10	2,27	0	252,019	252,048	252,048	138,5	10,83	1 746	1 746,0	1 250	6 046	2 378	1 609	-0,4 %	3,6 %	2,1 %	0,8 %	-0,4 %	3,6 %	3,6 %	10,1
Fixed lifetime, round & reasonable	0	2,0	1500	10	VRAI	2000	0	NaN	0	248,752	NaN	256,195	177,7	8,44	2 495	NaN	1 186	3 495	2 198	1 484	-5,5 %	-40,1 %	-5,6 %	-7,0 %	-40,1 %	-5,5 %	-40,1 %	4,8
Fixed lifetime, matching rgain=2	0	2,0	1500	10,687	VRAI	1809	0	NaN	0	245,986	NaN	255,241	173,8	8,63	2 403	NaN	1 170	3 823	2 266	1 479	-6,8 %	-34,5 %	-2,7 %	-7,3 %	-34,5 %	-2,7 %	-34,5 %	4,8
Fixed lifetime, optimistic 15y	0	2,0	1500	15	VRAI	2000	0	NaN	0	241,537	NaN	253,072	166,5	9,01	2 060	NaN	1 129	4 841	2 589	1 452	-10,1 %	-17,1 %	11,1 %	-9,0 %	-17,1 %	11,1 %	-17,1 %	5,6
Fixed lifetime, convergence	0	2,0	1500	7,877	VRAI	2760	0	NaN	0	259,502	NaN	259,502	190,4	7,88	2 760	NaN	1 227	2 706	2 073	1 477	-2,2 %	-53,6 %	-11,0 %	-7,5 %	-53,6 %	-2,2 %	-53,6 %	4,8
Usage penalty, variant 1	0	2,0	1500	15	VRAI	2000	0	2,00	1	234,926	254,087	257,810	172,4	8,70	2 653	2 215	1 221	2 812	1 817	1 636	-2,7 %	-51,8 %	-22,0 %	2,5 %	-51,8 %	2,5 %	-51,8 %	6,6
Usage penalty, variant 2	0	2,0	1500	15	VRAI	2000	0	2,00	2	212,675	250,360	250,714	141,8	10,58	1 864	1 818	1 119	5 859	2 308	1 562	-10,9 %	0,4 %	-0,9 %	-2,2 %	-10,9 %	0,4 %	-10,9 %	6,6
10 y storage: our method	0	2,0	1500	10	FAUX	2000 ~ NaN?	10	2,00	0	250,492	250,533	252,011	150,1	9,99	1 965	1 785	1 184	5 131	2 296	1 584	-5,7 %	-12,1 %	-1,4 %	-0,8 %	-12,1 %	-0,8 %	-12,1 %	14,0
10 y storage: usage penalty variant 3	0	2,0	1500	10	VRAI	2000	10	2,00	3	247,385	260,967	269,244	217,3	6,90	3 348	2 458	1 335	881	1 535	1 685	6,4 %	-84,9 %	-34,1 %	5,6 %	-84,9 %	6,4 %	-84,9 %	6,6

Choice of comparison baseline	2
Base case, rgain=2.0					250,239	250,260	252,218					1 255	5 837	2 330	1 596

## article table
Simpler table for article
	Parameters					LCOEs (€/MWh)			Operation stats				Sizing (kW, kWh)				Sizing diff to baseline
case	sto_lifetime_calendar	gen_hours_assum	n_ztan	relax gain	usage_penal	MOD	CVX	NS	sto_cycles	sto_cycles_lifetime	gen_hours	gen_hours_lin	x* gen	x* sto	x* pv	x* wind	Δx* worst	topt (s)
Base case, rgain=1.0	—	—	10	1,00		243,024	243,056	252,907	147,8	10,15	2 090	914,6	1 216	4 988	2 132	1 576	-14,6 %	11,0
Base case, rgain=2.0	—	—	10	2,00		250,239	250,260	252,218	140,4	10,69	1 809	1 583,7	1 255	5 837	2 330	1 596	0,0 %	11,1
Less tangents, n_ztan=2	—	—	2	2,00		249,423	250,284	251,948	136,5	10,99	1 736	1 543,0	1 246	6 231	2 371	1 595	6,7 %	10,3
Less tangents, n_ztan=3	—	—	3	2,00		249,423	250,284	251,888	136,5	10,99	1 729	1 543,0	1 246	6 231	2 371	1 595	6,7 %	10,6
Less tangents, n_ztan=5	—	—	5	2,00		249,601	250,268	252,148	140,7	10,66	1 788	1 571,4	1 254	5 900	2 368	1 588	1,7 %	10,7
Relax gain convergence	—	—	10	2,27		252,019	252,048	252,048	138,5	10,83	1 746	1 746,0	1 250	6 046	2 378	1 609	3,6 %	10,1
Fixed lifetime, round & reasonable	10	2000	—	—		248,752	—	256,195	177,7	8,44	2 495	—	1 186	3 495	2 198	1 484	-40,1 %	4,8
Fixed lifetime, matching rgain=2	10,687	1809	—	—		245,986	—	255,241	173,8	8,63	2 403	—	1 170	3 823	2 266	1 479	-34,5 %	4,8
Fixed lifetime, optimistic 15y	15	2000	—	—		241,537	—	253,072	166,5	9,01	2 060	—	1 129	4 841	2 589	1 452	-17,1 %	5,6
Fixed lifetime, convergence	7,877	2760	—	—		259,502	—	259,502	190,4	7,88	2 760	—	1 227	2 706	2 073	1 477	-53,6 %	4,8
Usage penalty, variant 1	15	2000	—	2,00	1	234,926	254,087	257,810	172,4	8,70	2 653	2 214,8	1 221	2 812	1 817	1 636	-51,8 %	6,6
Usage penalty, variant 2	15	2000	—	2,00	2	212,675	250,360	250,714	141,8	10,58	1 864	1 818,4	1 119	5 859	2 308	1 562	-10,9 %	6,6
10 y storage: our method	—	—	10	2,00		250,492	250,533	252,011	150,1	9,99	1 965	1 785,0	1 184	5 131	2 296	1 584	-12,1 %	14,0
10 y storage: usage penalty variant 3	10	2000	10	2,00	3	247,385	260,967	269,244	217,3	6,90	3 348	2 457,9	1 335	881	1 535	1 685	-84,9 %	6,6